## Sheet1
Project | Original Year | New Year | Type | Reason
LX43 N-1 11kV (LX51 Feeder Upgrade) | 2024 | 2025 | Capacity | Revised forecast
Beachport Tee - Robe 33kV (Robe BESS) | 2024 | 2025 | Capacity | Deferred as proposed solution changed
Glanville - Queenstown 66kV N-1 | 2024 | Cancelled | Capacity | Revised forecast
New Osborne - Glanville 66kV N-1 | 2024 | 2025 | Capacity | Revised forecast
Strathalbyn East ST12 11kV Feeder Upgrade | 2024 | Cancelled | Capacity | Revised forecast
Kingston SE Substation Upgrade | 2025 | Cancelled | Capacity | Revised forecast
Kalangadoo Substation Upgrade | 2025 | Cancelled | Capacity | Revised forecast
Trott Park NL451C 11kV Feeder Upgrade | 2026 | 2025 | Capacity | Revised forecast
Freeling - Kapunda 33kV N | 2026 | 2025 | Capacity | Revised forecast
Ascot Park Substation N & N-1 | 2026 | 2028 | Capacity | Revised forecast
Portee Substation Upgrade | 2026 | 2028 | Capacity | Revised forecast
Smithfield West Substation Upgrade | 2026 | 2025 | Capacity | Revised forecast
Tailem Bend - Pinnaroo 33kV (Lameroo BESS) | 2027 | 2026 | Capacity | Revised forecast
Elizabeth Downs - Smithfield West 66kV N-1 | 2027 | 2025 | Capacity | Revised forecast
Spalding Substation Upgrade | 2027 | Cancelled | Capacity | Revised forecast
Qualco Substation Upgrade | 2027 | 2028 | Capacity | Revised forecast
Northfield Substation Upgrade | 2027 | 2029 | Capacity | Revised forecast
Killburn 66kV & 11kV Protection Upgrade | 2026 | 2027 | Asset Condition | changed due to business priorities
Sq Water Hole Portection Upgrade | 2025 | 2026 | Safety | changed due to business priorities
Bungama - Pt Pirie 66kV Line Prot Upgrade | 2025 | 2026 | Asset Condition | changed due to business priorities
Fulham Gardens - Henley Sth 2 Line Prot Upgrade | 2027 | 2025 | Safety | changed due to efficiency
Pt Stanvac Bus & TF Prot Upgrade | 2028 | 2027 | Asset Condition | changed due to business priorities
Sheidow Park Bus Prot Upgrade | 2028 | 2029 | Safety | changed due to business priorities
Angas Creek 33kV Switchyard | 2024 | 2025 | Asset Condition | Deferred due to shift in business priorities
MacGillivray Pipework Sub | 2024 | 2025 | Safety | Deferred due to shift in business priorities
Hindley Street 11kV Switchboard | 2026 | 2029 | Asset Condition | Deferred due to shift in business priorities